## BUS DATA
Bus number (I) | Bus name (A) | Base kV (F) | Area number (I) | Loss zone number (I) | Type (I) | Final voltage (pu) (F) | Final angle (deg) (F) | Load MW (F) | Load MVAR (F) | Generation MW (F) | Generation MVAR (F) | Base kV (F) | Desired voltage (pu) (F) | Max MVAR limit (F) | Min MVAR limit (F) | Shunt conductance G (pu) (F) | Shunt susceptance B (pu) (F) | Remote-controlled bus number (I)
1 | Glen Lyn | 132 | 1 | 1 | 3 | 1.060 | 0.0 | 0.0 | 0.0 | 260.2 | -16.1 | 132.0 | 1.060 | 0.0 | 0.0 | 0.0 | 0.0 | 0
2 | Claytor | 132 | 1 | 1 | 2 | 1.043 | -5.48 | 21.7 | 12.7 | 40.0 | 50.0 | 132.0 | 1.045 | 50.0 | -40.0 | 0.0 | 0.0 | 0
3 | Kumis | 132 | 1 | 1 | 0 | 1.021 | -7.96 | 2.4 | 1.2 | 0.0 | 0.0 | 132.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
4 | Hancock | 132 | 1 | 1 | 0 | 1.012 | -9.62 | 7.6 | 1.6 | 0.0 | 0.0 | 132.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
5 | Fieldale | 132 | 1 | 1 | 2 | 1.010 | -14.37 | 94.2 | 19.0 | 0.0 | 37.0 | 132.0 | 1.010 | 40.0 | -40.0 | 0.0 | 0.0 | 0
6 | Roanoke | 132 | 1 | 1 | 0 | 1.010 | -11.34 | 0.0 | 0.0 | 0.0 | 0.0 | 132.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
7 | Blaine | 132 | 1 | 1 | 0 | 1.002 | -13.12 | 22.8 | 10.9 | 0.0 | 0.0 | 132.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
8 | Reusens | 132 | 1 | 1 | 2 | 1.010 | -12.10 | 30.0 | 30.0 | 0.0 | 37.3 | 132.0 | 1.010 | 40.0 | -10.0 | 0.0 | 0.0 | 0
9 | Roanoke | 1.0 | 1 | 1 | 0 | 1.051 | -14.38 | 0.0 | 0.0 | 0.0 | 0.0 | 1.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
10 | Roanoke | 33 | 1 | 1 | 0 | 1.045 | -15.97 | 5.8 | 2.0 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.19 | 0
11 | Roanoke | 11 | 1 | 1 | 2 | 1.082 | -14.39 | 0.0 | 0.0 | 0.0 | 16.2 | 11.0 | 1.082 | 24.0 | -6.0 | 0.0 | 0.0 | 0
12 | Hancock | 33 | 1 | 1 | 0 | 1.057 | -15.24 | 11.2 | 7.5 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
13 | Hancock | 11 | 1 | 1 | 2 | 1.071 | -15.24 | 0.0 | 0.0 | 0.0 | 10.6 | 11.0 | 1.071 | 24.0 | -6.0 | 0.0 | 0.0 | 0
14 | Bus 14 | 33 | 1 | 1 | 0 | 1.042 | -16.13 | 6.2 | 1.6 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
15 | Bus 15 | 33 | 1 | 1 | 0 | 1.038 | -16.22 | 8.2 | 2.5 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
16 | Bus 16 | 33 | 1 | 1 | 0 | 1.045 | -15.83 | 3.5 | 1.8 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
17 | Bus 17 | 33 | 1 | 1 | 0 | 1.040 | -16.14 | 9.0 | 5.8 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
18 | Bus 18 | 33 | 1 | 1 | 0 | 1.028 | -16.82 | 3.2 | 0.9 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
19 | Bus 19 | 33 | 1 | 1 | 0 | 1.026 | -17.00 | 9.5 | 3.4 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
20 | Bus 20 | 33 | 1 | 1 | 0 | 1.030 | -16.80 | 2.2 | 0.7 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
21 | Bus 21 | 33 | 1 | 1 | 0 | 1.033 | -16.42 | 17.5 | 11.2 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
22 | Bus 22 | 33 | 1 | 1 | 0 | 1.033 | -16.41 | 0.0 | 0.0 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
23 | Bus 23 | 33 | 1 | 1 | 0 | 1.027 | -16.61 | 3.2 | 1.6 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
24 | Bus 24 | 33 | 1 | 1 | 0 | 1.021 | -16.78 | 8.7 | 6.7 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.043 | 0
25 | Bus 25 | 33 | 1 | 1 | 0 | 1.017 | -16.35 | 0.0 | 0.0 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
26 | Bus 26 | 33 | 1 | 1 | 0 | 1.000 | -16.77 | 3.5 | 2.3 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
27 | Cloverdle | 33 | 1 | 1 | 0 | 1.023 | -15.82 | 0.0 | 0.0 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
28 | Cloverdle1 | 32 | 1 | 1 | 0 | 1.007 | -11.97 | 0.0 | 0.0 | 0.0 | 0.0 | 132.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
29 | Bus 29 | 33 | 1 | 1 | 0 | 1.003 | -17.06 | 2.4 | 0.9 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0
30 | Bus 30 | 33 | 1 | 1 | 0 | 0.992 | -17.94 | 10.6 | 1.9 | 0.0 | 0.0 | 33.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0

## BRANCH DATA
Tap bus number (I) | Z bus number (I) | Load flow area (I) | Loss zone (I) | Circuit number (I) | Type (I) | Branch resistance R (pu) | Branch reactance X (pu) | Line charging B (pu) | Line MVA rating No1 (I) | Line MVA rating No2 (I) | Line MVA rating No3 (I) | Control bus number (I) | Side (I) | Transformer turns ratio (F) | Transformer phase angle (F) | Min tap/phase (F) | Max tap/phase (F) | Step size (F) | Min limit (F) | Max limit (F)
1 | 2 | 1 | 1 | 1 | 0 | 0.0192 | 0.0575 | 0.0528 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
1 | 3 | 1 | 1 | 1 | 0 | 0.0452 | 0.1652 | 0.0408 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
2 | 4 | 1 | 1 | 1 | 0 | 0.0570 | 0.1737 | 0.0368 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
3 | 4 | 1 | 1 | 1 | 0 | 0.0132 | 0.0379 | 0.0084 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
2 | 5 | 1 | 1 | 1 | 0 | 0.0472 | 0.1983 | 0.0418 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
2 | 6 | 1 | 1 | 1 | 0 | 0.0581 | 0.1763 | 0.0374 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
4 | 6 | 1 | 1 | 1 | 0 | 0.0119 | 0.0414 | 0.0090 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
5 | 7 | 1 | 1 | 1 | 0 | 0.0460 | 0.1160 | 0.0204 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
6 | 7 | 1 | 1 | 1 | 0 | 0.0267 | 0.0820 | 0.0170 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
6 | 8 | 1 | 1 | 1 | 0 | 0.0120 | 0.0420 | 0.0090 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
6 | 9 | 1 | 1 | 1 | 0 | 0.0 | 0.2080 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.978 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
6 | 10 | 1 | 1 | 1 | 0 | 0.0 | 0.5560 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.969 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
9 | 11 | 1 | 1 | 1 | 0 | 0.0 | 0.2080 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
9 | 10 | 1 | 1 | 1 | 0 | 0.0 | 0.1100 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
4 | 12 | 1 | 1 | 1 | 0 | 0.0 | 0.2560 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.932 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
12 | 13 | 1 | 1 | 1 | 0 | 0.0 | 0.1400 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
12 | 14 | 1 | 1 | 1 | 0 | 0.1231 | 0.2559 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
12 | 15 | 1 | 1 | 1 | 0 | 0.0662 | 0.1304 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
12 | 16 | 1 | 1 | 1 | 0 | 0.0945 | 0.1987 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
14 | 15 | 1 | 1 | 1 | 0 | 0.2210 | 0.1997 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
16 | 17 | 1 | 1 | 1 | 0 | 0.0524 | 0.1923 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
15 | 18 | 1 | 1 | 1 | 0 | 0.1073 | 0.2185 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
18 | 19 | 1 | 1 | 1 | 0 | 0.0639 | 0.1292 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
19 | 20 | 1 | 1 | 1 | 0 | 0.0340 | 0.0680 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
10 | 20 | 1 | 1 | 1 | 0 | 0.0936 | 0.2090 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
10 | 17 | 1 | 1 | 1 | 0 | 0.0324 | 0.0845 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
10 | 21 | 1 | 1 | 1 | 0 | 0.0348 | 0.0749 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
10 | 22 | 1 | 1 | 1 | 0 | 0.0727 | 0.1499 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
21 | 22 | 1 | 1 | 1 | 0 | 0.0116 | 0.0236 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
15 | 23 | 1 | 1 | 1 | 0 | 0.1000 | 0.2020 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
22 | 24 | 1 | 1 | 1 | 0 | 0.1150 | 0.1790 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
23 | 24 | 1 | 1 | 1 | 0 | 0.1320 | 0.2700 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
24 | 25 | 1 | 1 | 1 | 0 | 0.1885 | 0.3292 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
25 | 26 | 1 | 1 | 1 | 0 | 0.2544 | 0.3800 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
25 | 27 | 1 | 1 | 1 | 0 | 0.1093 | 0.2087 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
28 | 27 | 1 | 1 | 1 | 0 | 0.0 | 0.3960 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.968 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
27 | 29 | 1 | 1 | 1 | 0 | 0.2198 | 0.4153 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
27 | 30 | 1 | 1 | 1 | 0 | 0.3202 | 0.6027 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
29 | 30 | 1 | 1 | 1 | 0 | 0.2399 | 0.4533 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
8 | 28 | 1 | 1 | 1 | 0 | 0.0636 | 0.2000 | 0.0428 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0
6 | 28 | 1 | 1 | 1 | 0 | 0.0169 | 0.0599 | 0.0130 | 0 | 0 | 0 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0